## Cover
All tables, calculations and polynomials have been made to best of our knowledge.
KIPP & ZONEN shall in no event be liable for incidental or consequential damages, including without limitation, lost profits, loss of income, loss of business opportunities, loss of use and other related exposures, however caused, arising from the use of the data supplied.
COPYRIGHT 2016 KIPP & ZONEN
All rights reserved. No part of this publication may be reproduced, stored in a retrieval system or transmitted in any form or by any means, without permission in written form from the company.
In the case you have questions, comments or need technical support, please contact us at the following address:
Kipp & Zonen B.V.
Delftechpark 36
2628 XH Delft
the Netherlands
T +31 15 2755 210
support@kippzonen.com
www.kippzonen.com

## Solar radiation sensors
For CMPxx , CGRxx , CHP1 and other
y= A3 x3 + A2 x2 + A1 x + A0 as used in the LOGBOX SE
Sensitivity as indicated on the serial label |  |  | 9.87 | µV/W/m2
A1 = | 101.3171 | (1000/G6)
A3=A2=A0=0

## 10K thermistors to GND
Please fill in VREF and resistor used and if your thermistor is different the values for each temperature in column C (NTC) | [7 empty] | Please fill in VREF and resistor used and if your thermistor is different the values for each temperature in column C (NTC)
|  |  | VREF | 2500 | mV | AIN1 and AIN2 |  |  |  |  | VREF | 2500 | mV | AIN3 and AIN4
|  |  | Resistor used in series with thermistor | 10000 | Ω | [5 empty] | Resistor used in series with thermistor | 10000 | Ω | These have an internal voltage divider
and therefor 13,2kΩ input impedance
10k thermistor YSI 44031 | [7 empty] | 10k thermistor YSI 44031
Vin in mV | Temp °C | Resistance kΩ | calculated back | Delta |  |  |  | Vin in mV | Temp °C | Resistance kΩ | calculated back | Delta |  |  |  | NTC parallel with input impedance
2327.8237 | -30 | 135.2 | -28.5393 | -1.4607 |  |  |  | 1364.9714 | -30 | 135.2 | -27.2925 | -2.7075 |  |  |  | 12025.876
2318.7092 | -29 | 127.9 | -27.8226 | -1.1774 |  |  |  | 1361.8324 | -29 | 127.9 | -26.698 | -2.302 |  |  |  | 11965.1311
2309.3059 | -28 | 121.1 | -27.0907 | -0.90934 |  |  |  | 1358.5833 | -28 | 121.1 | -26.0874 | -1.9126 |  |  |  | 11902.6061
2299.3579 | -27 | 114.6 | -26.3246 | -0.67539 |  |  |  | 1355.1342 | -27 | 114.6 | -25.4443 | -1.5557 |  |  |  | 11836.6197
2289.2074 | -26 | 108.6 | -25.5516 | -0.44839 |  |  |  | 1351.6021 | -26 | 108.6 | -24.7912 | -1.2088 |  |  |  | 11769.4581
2278.5651 | -25 | 102.9 | -24.7504 | -0.24955 |  |  |  | 1347.8851 | -25 | 102.9 | -24.1099 | -0.89009 |  |  |  | 11699.2248
2267.4202 | -24 | 97.49 | -23.9215 | -0.078475 |  |  |  | 1343.9774 | -24 | 97.49 | -23.4002 | -0.5998 |  |  |  | 11625.8741
2255.9309 | -23 | 92.43 | -23.0776 | 0.077641 |  |  |  | 1339.9324 | -23 | 92.43 | -22.6726 | -0.32741 |  |  |  | 11550.4686
2244.0098 | -22 | 87.66 | -22.2133 | 0.21334 |  |  |  | 1335.7178 | -22 | 87.66 | -21.922 | -0.07802 |  |  |  | 11472.4569
2231.6445 | -21 | 83.16 | -21.3288 | 0.32881 |  |  |  | 1331.3268 | -21 | 83.16 | -21.1481 | 0.14808 |  |  |  | 11391.7808
2218.8168 | -20 | 78.91 | -20.4239 | 0.42391 |  |  |  | 1326.7509 | -20 | 78.91 | -20.3503 | 0.35032 |  |  |  | 11308.3487
2205.5706 | -19 | 74.91 | -19.5029 | 0.50289 |  |  |  | 1322.0034 | -19 | 74.91 | -19.532 | 0.53196 |  |  |  | 11222.4719
2191.8526 | -18 | 71.13 | -18.5632 | 0.56316 |  |  |  | 1317.0626 | -18 | 71.13 | -18.6903 | 0.69028 |  |  |  | 11133.8314
2177.7105 | -17 | 67.57 | -17.6092 | 0.60916 |  |  |  | 1311.9431 | -17 | 67.57 | -17.8288 | 0.82882 |  |  |  | 11042.7634
2163.0728 | -16 | 64.2 | -16.6373 | 0.63726 |  |  |  | 1306.6163 | -16 | 64.2 | -16.9439 | 0.94386 |  |  |  | 10948.8372
2147.9865 | -15 | 61.02 | -15.6518 | 0.65181 |  |  |  | 1301.0964 | -15 | 61.02 | -16.0389 | 1.0389 |  |  |  | 10852.3848
2132.407 | -14 | 58.01 | -14.6511 | 0.6511 |  |  |  | 1295.3637 | -14 | 58.01 | -15.112 | 1.112 |  |  |  | 10753.1526
2116.3879 | -13 | 55.17 | -13.6398 | 0.63977 |  | In order to make your own polynomial: |  | 1289.435 | -13 | 55.17 | -14.1671 | 1.1671 |  | In order to make your own polynomial: |  | 10651.5138
2099.872 | -12 | 52.48 | -12.6154 | 0.61536 |  |  |  | 1283.2855 | -12 | 52.48 | -13.2015 | 1.2015 |  |  |  | 10547.1376
2082.9162 | -11 | 49.94 | -11.5826 | 0.58258 |  | 1 | Change the values for VREF and/or Resistor used | 1276.933 | -11 | 49.94 | -12.2194 | 1.2194 |  | 1 | Change the values for VREF and/or Resistor used | 10440.4181
2065.5196 | -10 | 47.54 | -10.5424 | 0.54238 |  |  |  | 1270.3737 | -10 | 47.54 | -11.2213 | 1.2213 |  |  |  | 10331.3797
2047.675 | -9 | 45.27 | -9.4953 | 0.49534 |  | 2 | If you have your own thermistor values fill column C | 1263.601 | -9 | 45.27 | -10.2077 | 1.2077 |  | 2 | If you have your own thermistor values fill column C | 10220.0103
2029.1902 | -8 | 43.1 | -8.4315 | 0.43148 |  |  |  | 1256.5376 | -8 | 43.1 | -9.1686 | 1.1686 |  |  |  | 10105.151
2010.4758 | -7 | 41.07 | -7.3753 | 0.37534 |  | 3 | Slowly move the cursor over the trendline if there already is one | 1249.3363 | -7 | 41.07 | -8.1279 | 1.1279 |  | 3 | Slowly move the cursor over the trendline if there already is one | 9989.3864
1991.2495 | -6 | 39.14 | -6.3116 | 0.31161 |  |  |  | 1241.885 | -6 | 39.14 | -7.0705 | 1.0705 |  |  |  | 9870.9973
1971.5705 | -5 | 37.31 | -5.2445 | 0.24452 |  |  |  | 1234.202 | -5 | 37.31 | -6.0007 | 1.0007 |  |  |  | 9750.3861
1951.3935 | -4 | 35.57 | -4.1725 | 0.17246 |  |  |  | 1226.2647 | -4 | 35.57 | -4.9168 | 0.91682 |  |  |  | 9627.3119
1930.9128 | -3 | 33.93 | -3.1063 | 0.10634 |  |  |  | 1218.1454 | -3 | 33.93 | -3.8301 | 0.83009 |  |  |  | 9502.9917
1909.9599 | -2 | 32.37 | -2.0378 | 0.037813 |  | 4 | Left click on the thin black line and press Delete on your keyboard | 1209.7728 | -2 | 32.37 | -2.7323 | 0.73233 |  | 4 | Left click on the thin black line and press Delete on your keyboard | 9376.4319
1888.6036 | -1 | 30.89 | -0.97094 | -0.029064 |  |  | The graph will change but that's not important | 1201.1694 | -1 | 30.89 | -1.628 | 0.62797 |  |  | The graph will change but that's not important | 9248.0835
1866.9283 | 0 | 29.49 | 0.089847 | -0.089847 |  |  |  | 1192.3648 | 0 | 29.49 | -0.52208 | 0.52208 |  |  |  | 9118.4821
1844.692 | 1 | 28.15 | 1.156 | -0.15601 |  | 5 | Now right click on the blue line and Select Add Trendline | 1183.2552 | 1 | 28.15 | 0.59687 | 0.40313 |  | 5 | Now right click on the blue line and Select Add Trendline | 8986.2152
1822.3096 | 2 | 26.89 | 2.2076 | -0.2076 |  |  |  | 1174.0059 | 2 | 26.89 | 1.7073 | 0.29266 |  |  |  | 8853.779
1799.5237 | 3 | 25.69 | 3.257 | -0.25696 |  |  |  | 1164.5064 | 3 | 25.69 | 2.8216 | 0.17836 |  |  |  | 8719.6709
1776.411 | 4 | 24.55 | 4.3007 | -0.30067 |  |  |  | 1154.7836 | 4 | 24.55 | 3.9354 | 0.064624 |  |  |  | 8584.3709
1752.8392 | 5 | 23.46 | 5.3448 | -0.34477 |  |  |  | 1144.7761 | 5 | 23.46 | 5.0543 | -0.054265 |  |  |  | 8447.1358
1729.1088 | 6 | 22.43 | 6.3764 | -0.37638 |  |  |  | 1134.6064 | 6 | 22.43 | 6.1636 | -0.16358 |  |  |  | 8309.739
1705.0874 | 7 | 21.45 | 7.4019 | -0.40194 |  |  |  | 1124.2138 | 7 | 21.45 | 7.2693 | -0.26929 |  |  |  | 8171.4286
1680.865 | 8 | 20.52 | 8.4183 | -0.41832 |  |  |  | 1113.6328 | 8 | 20.52 | 8.367 | -0.367 |  |  |  | 8032.7402
1656.2605 | 9 | 19.63 | 9.4338 | -0.4338 |  |  |  | 1102.779 | 9 | 19.63 | 9.4646 | -0.46464 |  |  |  | 7892.6592
1631.6429 | 10 | 18.79 | 10.4341 | -0.43411 |  |  |  | 1091.8109 | 10 | 18.79 | 10.5457 | -0.54572 |  |  |  | 7753.2979
1606.5046 | 11 | 17.98 | 11.4408 | -0.44078 |  |  |  | 1080.4974 | 11 | 17.98 | 11.6324 | -0.63241 |  |  |  | 7611.8024
1581.5577 | 12 | 17.22 | 12.4264 | -0.42643 |  |  |  | 1069.1547 | 12 | 17.22 | 12.6941 | -0.6941 |  |  |  | 7472.1893
1556.2476 | 13 | 16.49 | 13.4143 | -0.41429 |  |  |  | 1057.5279 | 13 | 16.49 | 13.7548 | -0.75478 |  |  |  | 7331.3574
1530.632 | 14 | 15.79 | 14.4032 | -0.40315 |  |  |  | 1045.6366 | 14 | 15.79 | 14.812 | -0.81202 |  |  |  | 7189.6516
1505.1731 | 15 | 15.13 | 15.3766 | -0.37659 |  |  |  | 1033.6925 | 15 | 15.13 | 15.8473 | -0.8473 |  |  |  | 7049.6294
1479.5918 | 16 | 14.5 | 16.3468 | -0.34681 |  |  |  | 1021.5628 | 16 | 14.5 | 16.8728 | -0.87279 |  |  |  | 6909.7473
1453.9749 | 17 | 13.9 | 17.312 | -0.31201 |  |  |  | 1009.2853 | 17 | 13.9 | 17.8857 | -0.88572 |  |  |  | 6770.4797
1428.4183 | 18 | 13.33 | 18.2701 | -0.2701 |  |  |  | 996.9043 | 18 | 13.33 | 18.8832 | -0.88325 |  |  |  | 6632.3407
1403.0276 | 19 | 12.79 | 19.2187 | -0.2187 |  | 6 | Now right click on the box with the polynomial and select | 984.4703 | 19 | 12.79 | 19.8624 | -0.86242 |  | 6 | Now right click on the box with the polynomial and select | 6495.883
1376.9093 | 20 | 12.26 | 20.1927 | -0.19268 |  |  |  | 971.5392 | 20 | 12.26 | 20.8584 | -0.85843 |  |  |  | 6356.3236
1351.6307 | 21 | 11.77 | 21.1351 | -0.13511 |  |  |  | 958.8855 | 21 | 11.77 | 21.8127 | -0.81274 |  |  |  | 6222.0264
1325.7398 | 22 | 11.29 | 22.1017 | -0.10171 |  |  |  | 945.782 | 22 | 11.29 | 22.7816 | -0.78161 |  |  |  | 6085.2593
1300.3839 | 23 | 10.84 | 23.0512 | -0.05116 |  |  |  | 932.8062 | 23 | 10.84 | 23.7234 | -0.72343 |  |  |  | 5952.0799
1275.1102 | 24 | 10.41 | 24.0018 | -0.001812 |  |  |  | 919.7295 | 24 | 10.41 | 24.6567 | -0.65672 |  |  |  | 5820.0762
1250 | 25 | 10 | 24.952 | 0.047985 |  |  |  | 906.5934 | 25 | 10 | 25.5801 | -0.58009 |  |  |  | 5689.6552
1224.8151 | 26 | 9.605 | 25.9122 | 0.087791 |  |  |  | 893.2718 | 26 | 9.605 | 26.5039 | -0.50393 |  |  |  | 5559.5703
1199.7452 | 27 | 9.227 | 26.8766 | 0.1234 |  |  |  | 879.8629 | 27 | 9.227 | 27.4231 | -0.42305 |  |  |  | 5430.7932
1174.9351 | 28 | 8.867 | 27.8408 | 0.15916 |  |  |  | 866.4451 | 28 | 8.867 | 28.334 | -0.33397 |  |  |  | 5304.0468
1150.3266 | 29 | 8.523 | 28.8083 | 0.19169 |  |  |  | 852.9886 | 29 | 8.523 | 29.2407 | -0.24067 |  |  |  | 5179.0084
1125.9206 | 30 | 8.194 | 29.78 | 0.21996 |  |  |  | 839.495 | 30 | 8.194 | 30.145 | -0.14505 |  |  |  | 5055.6605
1101.7897 | 31 | 7.88 | 30.7541 | 0.24589 |  |  |  | 826.0063 | 31 | 7.88 | 31.0463 | -0.046298 |  |  |  | 4934.3454
1077.8486 | 32 | 7.579 | 31.7348 | 0.26516 |  |  |  | 812.4768 | 32 | 7.579 | 31.9495 | 0.050466 |  |  |  | 4814.6109
1054.1611 | 33 | 7.291 | 32.7205 | 0.27954 |  |  |  | 798.9442 | 33 | 7.291 | 32.8543 | 0.14571 |  |  |  | 4696.7547
1030.7945 | 34 | 7.016 | 33.7088 | 0.29118 |  |  |  | 785.4499 | 34 | 7.016 | 33.7599 | 0.24014 |  |  |  | 4581.0843
1007.6409 | 35 | 6.752 | 34.7051 | 0.29492 |  |  |  | 771.9341 | 35 | 6.752 | 34.6723 | 0.3277 |  |  |  | 4467.0409
984.8485 | 36 | 6.5 | 35.7034 | 0.29665 |  |  |  | 758.4866 | 36 | 6.5 | 35.5876 | 0.41244 |  |  |  | 4355.3299
962.2955 | 37 | 6.258 | 36.7093 | 0.29065 |  |  |  | 745.0387 | 37 | 6.258 | 36.5123 | 0.48771 |  |  |  | 4245.3284
940.0349 | 38 | 6.026 | 37.7211 | 0.2789 |  |  |  | 731.6249 | 38 | 6.026 | 37.4461 | 0.55389 |  |  |  | 4137.2724
918.2221 | 39 | 5.805 | 38.7316 | 0.26841 |  |  |  | 718.3436 | 39 | 5.805 | 38.3839 | 0.61607 |  |  |  | 4031.8863
896.6136 | 40 | 5.592 | 39.7522 | 0.24781 |  |  |  | 705.0506 | 40 | 5.592 | 39.3377 | 0.66229 |  |  |  | 3927.9693
875.463 | 41 | 5.389 | 40.7709 | 0.22907 |  |  |  | 691.906 | 41 | 5.389 | 40.2977 | 0.70234 |  |  |  | 3826.7147
854.5054 | 42 | 5.193 | 41.8005 | 0.19948 |  |  |  | 678.7493 | 42 | 5.193 | 41.2771 | 0.72287 |  |  |  | 3726.8309
833.9997 | 43 | 5.006 | 42.8281 | 0.17188 |  |  |  | 665.7473 | 43 | 5.006 | 42.2653 | 0.73473 |  |  |  | 3629.5287
813.8868 | 44 | 4.827 | 43.8562 | 0.14377 |  |  |  | 652.8684 | 44 | 4.827 | 43.2657 | 0.73435 |  |  |  | 3534.4983
794.0976 | 45 | 4.655 | 44.8881 | 0.11195 |  |  |  | 640.0732 | 45 | 4.655 | 44.2826 | 0.71743 |  |  |  | 3441.389
774.5531 | 46 | 4.489 | 45.9275 | 0.072478 |  |  |  | 627.3143 | 46 | 4.489 | 45.3212 | 0.67878 |  |  |  | 3349.8106
755.53 | 47 | 4.331 | 46.9594 | 0.040598 |  | 7 | Scientific, 5 decimal places and Add | 614.7776 | 47 | 4.331 | 46.3674 | 0.63261 |  | 7 | Scientific, 5 decimal places and Add | 3261.0347
736.8291 | 48 | 4.179 | 47.9938 | 0.0062217 |  |  |  | 602.3381 | 48 | 4.179 | 47.4322 | 0.56782 |  |  |  | 3174.1067
718.485 | 49 | 4.033 | 49.0283 | -0.02825 |  |  |  | 590.0235 | 49 | 4.033 | 48.5141 | 0.48591 |  |  |  | 3089.1661
700.5326 | 50 | 3.893 | 50.0602 | -0.06019 |  |  |  | 577.8625 | 50 | 3.893 | 49.6112 | 0.38882 |  |  |  | 3006.3535
682.8754 | 51 | 3.758 | 51.0946 | -0.094557 |  |  |  | 565.7945 | 51 | 3.758 | 50.7295 | 0.27046 |  |  |  | 2925.2034
665.6761 | 52 | 3.629 | 52.1211 | -0.12107 |  |  |  | 553.9361 | 52 | 3.629 | 51.8587 | 0.14133 |  |  |  | 2846.4436
648.6967 | 53 | 3.504 | 53.1533 | -0.15329 |  |  |  | 542.128 | 53 | 3.504 | 53.0142 | -0.014151 |  |  |  | 2768.9655
632.2376 | 54 | 3.385 | 54.1722 | -0.17216 |  |  |  | 530.5844 | 54 | 3.385 | 54.1751 | -0.1751 |  |  |  | 2694.1212
616.0512 | 55 | 3.27 | 55.1921 | -0.19209 |  |  |  | 519.1375 | 55 | 3.27 | 55.3582 | -0.3582 |  |  |  | 2620.765
600.304 | 56 | 3.16 | 56.2018 | -0.20182 |  |  |  | 507.9099 | 56 | 3.16 | 56.5507 | -0.55068 |  |  |  | 2549.6333
584.8782 | 57 | 3.054 | 57.208 | -0.20797 |  |  |  | 496.8233 | 57 | 3.054 | 57.7605 | -0.7605 |  |  |  | 2480.1772
569.7962 | 58 | 2.952 | 58.2083 | -0.20833 |  |  |  | 485.8983 | 58 | 2.952 | 58.9852 | -0.9852 |  |  |  | 2412.4814
555.0801 | 59 | 2.854 | 59.2006 | -0.20056 |  |  |  | 475.156 | 59 | 2.854 | 60.2219 | -1.2219 |  |  |  | 2346.6301

## 10K thermistors to VREF
Please fill in VREF and resistor used and if your thermistor is different the values for each temperature in column C (NTC) | [7 empty] | Please fill in VREF and resistor used and if your thermistor is different the values for each temperature in column C (NTC)
|  |  | VREF | 2500 | mV | AIN1 and AIN2 |  |  |  |  | VREF | 2500 | mV | AIN3 and AIN4
|  |  | Resistor used in series with thermistor | 10000 | Ω | [5 empty] | Resistor used in series with thermistor | 10000 | Ω | These have an internal voltage divider
and therefor 13,2kΩ input impedance
10k thermistor YSI 44031 | [7 empty] | 10k thermistor YSI 44031
Vin in mV | Temp °C | Resistance kΩ | calculated back | Delta |  |  |  | Vin in mV | Temp °C | Resistance kΩ | calculated back | Delta |  |  |  | 10k parallel with input impedance
172.1763 | -30 | 135.2 | -28.5393 | -1.4607 |  |  |  | 100.9594 | -30 | 135.2 | -27.2918 | -2.7082 |  |  |  | 5689.6552
181.2908 | -29 | 127.9 | -27.8226 | -1.1774 |  |  |  | 106.4763 | -29 | 127.9 | -26.6973 | -2.3027
190.6941 | -28 | 121.1 | -27.0907 | -0.90934 |  |  |  | 112.1869 | -28 | 121.1 | -26.0867 | -1.9133
200.6421 | -27 | 114.6 | -26.3246 | -0.67539 |  |  |  | 118.2491 | -27 | 114.6 | -25.4436 | -1.5564
210.7926 | -26 | 108.6 | -25.5516 | -0.44839 |  |  |  | 124.4569 | -26 | 108.6 | -24.7905 | -1.2095
221.4349 | -25 | 102.9 | -24.7504 | -0.24955 |  |  |  | 130.9898 | -25 | 102.9 | -24.1093 | -0.89074
232.5798 | -24 | 97.49 | -23.9215 | -0.078475 |  |  |  | 137.858 | -24 | 97.49 | -23.3996 | -0.60044
244.0691 | -23 | 92.43 | -23.0776 | 0.077641 |  |  |  | 144.9673 | -23 | 92.43 | -22.672 | -0.32804
255.9902 | -22 | 87.66 | -22.2133 | 0.21334 |  |  |  | 152.3748 | -22 | 87.66 | -21.9214 | -0.078641
268.3555 | -21 | 83.16 | -21.3288 | 0.32881 |  |  |  | 160.0922 | -21 | 83.16 | -21.1475 | 0.14748
281.1832 | -20 | 78.91 | -20.4239 | 0.42391 |  |  |  | 168.1347 | -20 | 78.91 | -20.3497 | 0.34972
294.4294 | -19 | 74.91 | -19.5029 | 0.50289 |  |  |  | 176.4789 | -19 | 74.91 | -19.5314 | 0.53137
308.1474 | -18 | 71.13 | -18.5632 | 0.56316 |  |  |  | 185.1627 | -18 | 71.13 | -18.6897 | 0.68971
322.2895 | -17 | 67.57 | -17.6092 | 0.60916 |  |  |  | 194.1606 | -17 | 67.57 | -17.8283 | 0.82826
336.9272 | -16 | 64.2 | -16.6373 | 0.63726 |  |  |  | 203.5228 | -16 | 64.2 | -16.9433 | 0.94332
352.0135 | -15 | 61.02 | -15.6518 | 0.65181 |  |  |  | 213.2246 | -15 | 61.02 | -16.0384 | 1.0384
367.593 | -14 | 58.01 | -14.6511 | 0.6511 |  |  |  | 223.3001 | -14 | 58.01 | -15.1115 | 1.1115
383.6121 | -13 | 55.17 | -13.6398 | 0.63977 |  | In order to make your own polynomial: |  | 233.7203 | -13 | 55.17 | -14.1666 | 1.1666 |  | In order to make your own polynomial:
400.128 | -12 | 52.48 | -12.6154 | 0.61536 |  |  |  | 244.5285 | -12 | 52.48 | -13.201 | 1.201
417.0838 | -11 | 49.94 | -11.5826 | 0.58258 |  | 1 | Change the values for VREF and/or Resistor used | 255.6934 | -11 | 49.94 | -12.2189 | 1.2189 |  | 1 | Change the values for VREF and/or Resistor used
434.4804 | -10 | 47.54 | -10.5424 | 0.54238 |  |  |  | 267.2221 | -10 | 47.54 | -11.2209 | 1.2209
452.325 | -9 | 45.27 | -9.4953 | 0.49534 |  | 2 | If you have your own thermistor values fill column C | 279.1255 | -9 | 45.27 | -10.2073 | 1.2073 |  | 2 | If you have your own thermistor values fill column C
470.8098 | -8 | 43.1 | -8.4315 | 0.43148 |  |  |  | 291.54 | -8 | 43.1 | -9.1682 | 1.1682
489.5242 | -7 | 41.07 | -7.3753 | 0.37534 |  | 3 | Slowly move the cursor over the trendline if there already is one | 304.1968 | -7 | 41.07 | -8.1275 | 1.1275 |  | 3 | Slowly move the cursor over the trendline if there already is one
508.7505 | -6 | 39.14 | -6.3116 | 0.31161 |  |  |  | 317.293 | -6 | 39.14 | -7.0702 | 1.0702
528.4295 | -5 | 37.31 | -5.2445 | 0.24452 |  |  |  | 330.7966 | -5 | 37.31 | -6.0003 | 1.0003
548.6065 | -4 | 35.57 | -4.1725 | 0.17246 |  |  |  | 344.7469 | -4 | 35.57 | -4.9165 | 0.91648
569.0872 | -3 | 33.93 | -3.1063 | 0.10634 |  |  |  | 359.0172 | -3 | 33.93 | -3.8298 | 0.82978
590.0401 | -2 | 32.37 | -2.0378 | 0.037809 |  | 4 | Left click on the thin black line and press Delete on your keyboard | 373.7327 | -2 | 32.37 | -2.732 | 0.73203 |  | 4 | Left click on the thin black line and press Delete on your keyboard
611.3964 | -1 | 30.89 | -0.97093 | -0.029068 |  |  | The graph will change but that's not important | 388.8538 | -1 | 30.89 | -1.6277 | 0.6277 |  |  | The graph will change but that's not important
633.0717 | 0 | 29.49 | 0.089852 | -0.089852 |  |  |  | 404.3285 | 0 | 29.49 | -0.52182 | 0.52182
655.308 | 1 | 28.15 | 1.156 | -0.15601 |  | 5 | Now right click on the blue line and Select Add Trendline | 420.3393 | 1 | 28.15 | 0.5971 | 0.4029 |  | 5 | Now right click on the blue line and Select Add Trendline
677.6904 | 2 | 26.89 | 2.2076 | -0.2076 |  |  |  | 436.5957 | 2 | 26.89 | 1.7076 | 0.29245
700.4763 | 3 | 25.69 | 3.257 | -0.25697 |  |  |  | 453.2917 | 3 | 25.69 | 2.8218 | 0.17817
723.589 | 4 | 24.55 | 4.3007 | -0.30067 |  |  |  | 470.3803 | 4 | 24.55 | 3.9355 | 0.064459
747.1608 | 5 | 23.46 | 5.3448 | -0.34478 |  |  |  | 487.9693 | 5 | 23.46 | 5.0544 | -0.054407
770.8912 | 6 | 22.43 | 6.3764 | -0.37639 |  |  |  | 505.8433 | 6 | 22.43 | 6.1637 | -0.1637
794.9126 | 7 | 21.45 | 7.402 | -0.40195 |  |  |  | 524.109 | 7 | 21.45 | 7.2694 | -0.26939
819.135 | 8 | 20.52 | 8.4183 | -0.41833 |  |  |  | 542.706 | 8 | 20.52 | 8.3671 | -0.36708
843.7395 | 9 | 19.63 | 9.4338 | -0.43381 |  |  |  | 561.7825 | 9 | 19.63 | 9.4647 | -0.46469
868.3571 | 10 | 18.79 | 10.4341 | -0.43413 |  |  |  | 581.0596 | 10 | 18.79 | 10.5457 | -0.54575
893.4954 | 11 | 17.98 | 11.4408 | -0.44079 |  |  |  | 600.944 | 11 | 17.98 | 11.6324 | -0.63242
918.4423 | 12 | 17.22 | 12.4264 | -0.42645 |  |  |  | 620.8796 | 12 | 17.22 | 12.6941 | -0.69409
943.7524 | 13 | 16.49 | 13.4143 | -0.41431 |  |  |  | 641.3147 | 13 | 16.49 | 13.7547 | -0.75474
969.368 | 14 | 15.79 | 14.4032 | -0.40317 |  |  |  | 662.2144 | 14 | 15.79 | 14.812 | -0.81195
994.8269 | 15 | 15.13 | 15.3766 | -0.37661 |  |  |  | 683.2072 | 15 | 15.13 | 15.8472 | -0.84721
1020.4082 | 16 | 14.5 | 16.3468 | -0.34684 |  |  |  | 704.526 | 16 | 14.5 | 16.8727 | -0.87267
1046.0251 | 17 | 13.9 | 17.312 | -0.31204 |  |  |  | 726.1046 | 17 | 13.9 | 17.8856 | -0.88559
1071.5817 | 18 | 13.33 | 18.2701 | -0.27013 |  |  |  | 747.8652 | 18 | 13.33 | 18.8831 | -0.88309
1096.9724 | 19 | 12.79 | 19.2187 | -0.21873 |  | 6 | Now right click on the box with the polynomial and select | 769.7188 | 19 | 12.79 | 19.8622 | -0.86224 |  | 6 | Now right click on the box with the polynomial and select
1123.0907 | 20 | 12.26 | 20.1927 | -0.19271 |  |  |  | 792.4463 | 20 | 12.26 | 20.8582 | -0.85823
1148.3693 | 21 | 11.77 | 21.1351 | -0.13515 |  |  |  | 814.6861 | 21 | 11.77 | 21.8125 | -0.81252
1174.2602 | 22 | 11.29 | 22.1017 | -0.10175 |  |  |  | 837.7165 | 22 | 11.29 | 22.7814 | -0.78137
1199.6161 | 23 | 10.84 | 23.0512 | -0.051199 |  |  |  | 860.5224 | 23 | 10.84 | 23.7232 | -0.72316
1224.8898 | 24 | 10.41 | 24.0019 | -0.0018528 |  |  |  | 883.5058 | 24 | 10.41 | 24.6564 | -0.65643
1250 | 25 | 10 | 24.9521 | 0.047942 |  |  |  | 906.5934 | 25 | 10 | 25.5798 | -0.57978
1275.1849 | 26 | 9.605 | 25.9123 | 0.087745 |  |  |  | 930.0071 | 26 | 9.605 | 26.5036 | -0.5036
1300.2548 | 27 | 9.227 | 26.8766 | 0.12335 |  |  |  | 953.5742 | 27 | 9.227 | 27.4227 | -0.4227
1325.0649 | 28 | 8.867 | 27.8409 | 0.15911 |  |  |  | 977.157 | 28 | 8.867 | 28.3336 | -0.33359
1349.6734 | 29 | 8.523 | 28.8084 | 0.19164 |  |  |  | 1000.8079 | 29 | 8.523 | 29.2403 | -0.24028
1374.0794 | 30 | 8.194 | 29.7801 | 0.2199 |  |  |  | 1024.524 | 30 | 8.194 | 30.1446 | -0.14464
1398.2103 | 31 | 7.88 | 30.7542 | 0.24583 |  |  |  | 1048.2313 | 31 | 7.88 | 31.0459 | -0.045867
1422.1514 | 32 | 7.579 | 31.7349 | 0.2651 |  |  |  | 1072.0105 | 32 | 7.579 | 31.9491 | 0.050916
1445.8389 | 33 | 7.291 | 32.7205 | 0.27948 |  |  |  | 1095.7951 | 33 | 7.291 | 32.8538 | 0.14618
1469.2055 | 34 | 7.016 | 33.7089 | 0.29112 |  |  |  | 1119.5124 | 34 | 7.016 | 33.7594 | 0.24062
1492.3591 | 35 | 6.752 | 34.7051 | 0.29485 |  |  |  | 1143.2673 | 35 | 6.752 | 34.6718 | 0.3282
1515.1515 | 36 | 6.5 | 35.7034 | 0.29658 |  |  |  | 1166.9024 | 36 | 6.5 | 35.587 | 0.41296
1537.7045 | 37 | 6.258 | 36.7094 | 0.29058 |  |  |  | 1190.538 | 37 | 6.258 | 36.5118 | 0.48824
1559.9651 | 38 | 6.026 | 37.7212 | 0.27882 |  |  |  | 1214.1137 | 38 | 6.026 | 37.4456 | 0.55444
1581.7779 | 39 | 5.805 | 38.7317 | 0.26833 |  |  |  | 1237.4567 | 39 | 5.805 | 38.3834 | 0.61664
1603.3864 | 40 | 5.592 | 39.7523 | 0.24772 |  |  |  | 1260.8201 | 40 | 5.592 | 39.3371 | 0.66287
1624.537 | 41 | 5.389 | 40.771 | 0.22898 |  |  |  | 1283.9228 | 41 | 5.389 | 40.2971 | 0.70294
1645.4946 | 42 | 5.193 | 41.8006 | 0.19939 |  |  |  | 1307.0466 | 42 | 5.193 | 41.2765 | 0.72348
1666.0003 | 43 | 5.006 | 42.8282 | 0.17179 |  |  |  | 1329.8987 | 43 | 5.006 | 42.2647 | 0.73535
1686.1132 | 44 | 4.827 | 43.8563 | 0.14367 |  |  |  | 1352.5344 | 44 | 4.827 | 43.265 | 0.73498
1705.9024 | 45 | 4.655 | 44.8881 | 0.11185 |  |  |  | 1375.0229 | 45 | 4.655 | 44.2819 | 0.71808
1725.4469 | 46 | 4.489 | 45.9276 | 0.072379 |  |  |  | 1397.4477 | 46 | 4.489 | 45.3206 | 0.67944
1744.47 | 47 | 4.331 | 46.9595 | 0.040497 |  | 7 | Scientific, 5 decimal places and Add | 1419.4818 | 47 | 4.331 | 46.3667 | 0.63328 |  | 7 | Scientific, 5 decimal places and Add
1763.1709 | 48 | 4.179 | 47.9939 | 0.0061177 |  |  |  | 1441.3451 | 48 | 4.179 | 47.4315 | 0.5685
1781.515 | 49 | 4.033 | 49.0284 | -0.028357 |  |  |  | 1462.989 | 49 | 4.033 | 48.5134 | 0.4866
1799.4674 | 50 | 3.893 | 50.0603 | -0.060299 |  |  |  | 1484.3629 | 50 | 3.893 | 49.6105 | 0.38952
1817.1246 | 51 | 3.758 | 51.0947 | -0.094669 |  |  |  | 1505.5734 | 51 | 3.758 | 50.7288 | 0.27117
1834.3239 | 52 | 3.629 | 52.1212 | -0.12119 |  |  |  | 1526.4153 | 52 | 3.629 | 51.858 | 0.14205
1851.3033 | 53 | 3.504 | 53.1534 | -0.15341 |  |  |  | 1547.169 | 53 | 3.504 | 53.0134 | -0.013422
1867.7624 | 54 | 3.385 | 54.1723 | -0.17228 |  |  |  | 1567.4577 | 54 | 3.385 | 54.1744 | -0.17436
1883.9488 | 55 | 3.27 | 55.1922 | -0.19222 |  |  |  | 1587.5765 | 55 | 3.27 | 55.3575 | -0.35745
1899.696 | 56 | 3.16 | 56.2019 | -0.20194 |  |  |  | 1607.3099 | 56 | 3.16 | 56.5499 | -0.54993
1915.1218 | 57 | 3.054 | 57.2081 | -0.2081 |  |  |  | 1626.7954 | 57 | 3.054 | 57.7597 | -0.75974
1930.2038 | 58 | 2.952 | 58.2085 | -0.20846 |  |  |  | 1645.9969 | 58 | 2.952 | 58.9844 | -0.98444
1944.9199 | 59 | 2.854 | 59.2007 | -0.2007 |  |  |  | 1664.8773 | 59 | 2.854 | 60.2212 | -1.2212

## PT100
PT100 | Celcius | Fahrenheit
88.2 | -30 | -22
88.6 | -29 | -20.2
89 | -28 | -18.4
89.4 | -27 | -16.6
89.8 | -26 | -14.8
90.2 | -25 | -13
90.6 | -24 | -11.2
91 | -23 | -9.4
91.4 | -22 | -7.6
91.8 | -21 | -5.8
92.2 | -20 | -4
92.6 | -19 | -2.2
93 | -18 | -0.4
93.3 | -17 | 1.4
93.7 | -16 | 3.2
94.1 | -15 | 5
94.5 | -14 | 6.8
94.9 | -13 | 8.6
95.3 | -12 | 10.4
95.7 | -11 | 12.2
96.1 | -10 | 14
96.5 | -9 | 15.8
96.9 | -8 | 17.6
97.3 | -7 | 19.4
97.7 | -6 | 21.2
98 | -5 | 23
98.4 | -4 | 24.8
98.8 | -3 | 26.6
99.2 | -2 | 28.4
99.6 | -1 | 30.2
100 | 0 | 32
100.4 | 1 | 33.8
100.8 | 2 | 35.6
101.2 | 3 | 37.4
101.6 | 4 | 39.2
102 | 5 | 41
102.3 | 6 | 42.8
102.7 | 7 | 44.6
103.1 | 8 | 46.4
103.5 | 9 | 48.2
103.9 | 10 | 50
104.3 | 11 | 51.8
104.7 | 12 | 53.6
105.1 | 13 | 55.4
105.5 | 14 | 57.2
105.9 | 15 | 59
106.2 | 16 | 60.8
106.6 | 17 | 62.6
107 | 18 | 64.4
107.4 | 19 | 66.2
107.8 | 20 | 68
108.2 | 21 | 69.8
108.6 | 22 | 71.6
109 | 23 | 73.4
109.4 | 24 | 75.2
109.7 | 25 | 77
110.1 | 26 | 78.8
110.5 | 27 | 80.6
110.9 | 28 | 82.4
111.3 | 29 | 84.2
111.7 | 30 | 86
112.1 | 31 | 87.8
112.5 | 32 | 89.6
112.8 | 33 | 91.4
113.2 | 34 | 93.2
113.6 | 35 | 95
114 | 36 | 96.8
114.4 | 37 | 98.6
114.8 | 38 | 100.4
115.2 | 39 | 102.2
115.5 | 40 | 104
115.9 | 41 | 105.8
116.3 | 42 | 107.6
116.7 | 43 | 109.4
117.1 | 44 | 111.2
117.5 | 45 | 113
117.9 | 46 | 114.8
118.2 | 47 | 116.6
118.6 | 48 | 118.4
119 | 49 | 120.2
119.4 | 50 | 122
119.8 | 51 | 123.8
120.2 | 52 | 125.6
120.6 | 53 | 127.4
120.9 | 54 | 129.2
121.3 | 55 | 131
121.7 | 56 | 132.8
122.1 | 57 | 134.6
122.5 | 58 | 136.4
122.9 | 59 | 138.2

## UVS
mV | °C
500 | -23 | UVS output
600 | -19
700 | -16
800 | -13
900 | -10
1000 | -7
1100 | -5
1200 | -2
1300 | 0
1400 | 2
1500 | 5
1600 | 7
1700 | 9
1800 | 11
1900 | 13
2000 | 15
2100 | 17
2200 | 19
2300 | 21
2400 | 23
2500 | 25
2600 | 27
2700 | 29
2800 | 31
2900 | 34
3000 | 36